Fire safety and emergency evacuation

Policy statement

We ensure the highest possible standard of fire precautions are in place. The person in charge and staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as our Fire Officer, or Fire Safety Consultant. A Fire Safety Log Book is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills.

We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment. These are carried out by a ‘competent person’.

- The Health and Safety co-ordinator and the manager have received training in fire safety sufficient to be competent to carry out risk assessment; this will be written where there are more than five staff and will follow the government guidance Fire Safety Risk Assessment – Educational Premises (HMG 2206).

- Our fire risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Gas boilers.

- Cookers.

- Matches.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals.

- Means of escape.

- Anything else identified.

- As we rent the property, we will ensure that we have a copy of the fire safety risk assessment that applies to the building and that we contribute to regular reviews.

Fire safety precautions taken

- Fire doors are clearly marked, never obstructed and easily opened from the inside.

- Smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high-risk areas of the building and are checked as specified by the manufacturer.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new members of staff, volunteers and parents; and

- practised regularly at least once every six weeks.

- Records are kept of fire drills and the servicing of fire safety equipment.

Emergency evacuation procedure

In the event of an emergency, the emergency evacuation procedure will be implemented.

- The emergency whistle will be blown throughout the setting.

- All staff will immediately gather the children together, ready to leave the building in an orderly fashion through the designated emergency exits. All exits display appropriate signs.

- Room Supervisors or the senior member of staff on duty will collect the register and check the rooms for any children/adults, they will close all doors and windows and turn off the lights as they leave the building.

- All children are accompanied to the emergency assembly point, where the registers are taken by senior staff and all children are accounted for.

- The fire officer and/or the Nursery Manager will collect the registration file and mobile phone before leaving the building and proceed to the assembly point.

- In the event of an actual emergency the Nursery Manager would immediately contact the emergency service and if necessary, the parents. These calls can be made by using the nursery mobile phone and/or from the telephones at Kalestead.

The fire drill record file contains the following information:

- Date and time of the drill.

- Number of adults and children involved

- How long it took to evacuate.

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

Further guidance

- Fire Safety Risk Assessment - Educational Premises (HMG 2006)

- Fire Safety Record (Pre-school Learning Alliance 2015)